## Key Indicators
Key Indicators | Values
Total Project Cost | $245,750.00
Direct Labor Cost | $98,300.00
Direct Labor Hours | 2,186
Material Cost | $89,200.00
Equipment Rental | $15,500.00
Subcontractor Cost | $23,800.00
General Expenses | $8,950.00
Labor Factor | 1.15
Overhead Percentage | 18%
Profit Margin | 12%
Project Duration (Days) | 52
Crew Size | 6
Safety Score | 96.8%
Efficiency Rating | 8.7/10
Change Orders | 3
Total Square Footage | 12,500
Cost per Square Foot | $19.66
Electrical Loads (Amps) | 800
Number of Circuits | 48
Panel Count | 4

## Materials
Description | Quantity | Unit | Unit_Cost | Total_Cost
12 AWG THWN Wire - 600V | 5000 | ft | 0.85 | 4250
3/4" EMT Conduit | 800 | ft | 2.45 | 1960
1" EMT Conduit | 400 | ft | 3.2 | 1280
200A Main Panel | 1 | ea | 1250 | 1250
20A Circuit Breakers | 24 | ea | 28.5 | 684
Wire Nuts #12 | 200 | ea | 0.15 | 30
Receptacles - 20A GFCI | 45 | ea | 45 | 2025
Light Fixtures - LED 4ft | 32 | ea | 125 | 4000
Junction Boxes - 4x4 | 28 | ea | 8.5 | 238
Cable Tray - 12" wide | 150 | ft | 12.75 | 1912.5

## Labor
Trade | Hours | Rate | Total_Cost
Journeyman Electrician | 1200 | 48.5 | 58200
Electrical Helper | 600 | 32 | 19200
Foreman | 240 | 58 | 13920
Apprentice Level 3 | 300 | 42 | 12600
Apprentice Level 1 | 146 | 28 | 4088

## Equipment
Equipment | Days | Daily_Rate | Total_Cost
Scissor Lift - 26ft | 15 | 185 | 2775
Cable Pulling System | 8 | 75 | 600
Conduit Bender - 1" | 20 | 25 | 500
Generator - 20KW | 10 | 125 | 1250
Hand Tools Set | 52 | 15 | 780
Laser Level | 12 | 35 | 420
Cable Fault Locator | 3 | 95 | 285
Megger Testing Kit | 5 | 65 | 325

## Cost Summary
Category | Cost | Percentage
Materials | 17629.5 | 10.7
Labor | 108008 | 65.7
Equipment | 6935 | 4.2
Subcontractors | 23800 | 14.5
General Expenses | 8950 | 5.4